## Sheet1
MINOR ELECTRICAL INSTALLATION
WORKS CERTIFICATE
(REQUIREMENTS FOR ELECTRICAL INSTALLATIONS - BS 7671 IET WIRING REGULATIONS
To be used only for minor electrical work which does not include the provision of a new circuit | [7 empty] | Certificate number;
PART 1: DETAILS OF THE MINOR WORKS | [7 empty] | Details of departures, if any, from BS 7671:2018 for circuit altered or extended (Reg 120.3, 133.1.3, 133.5); where applicable a suitable risk assessment(s) must be attached to the certificate
Client:
Date minor | Contract reference
works completed: | if any
Description of the minor works: | [7 empty] | Location/address of the minor works:
PART 2: PRESENCE AND ADEQUACY OF INSTALLATION EARTHING AND BONDING ARRANGEMENTS (REGULATION 132.16)
System earthing arrangements: |  |  |  |  | TN-C-S |  | TN-S |  | TT |  | TN-C |  | IT |  |  |  | ü | PVC/PVC | BS 88 | 1 | Conduit
[18 empty] | PVC/SWA | BS 3036 | 2 | Trunking
Earth fault loop impedance at the distribution board (Zdb) supplying the final circuit | [7 empty] | Ω | [9 empty] | XLPE/SWA | BS 1361 | 3 | Armour
[18 empty] | MICC | BS 1362 | 4 | MICC
Presence of adequate main protective conductors |  |  | Earthing conductor | [14 empty] | FP 200 | BS 60898 | B | Enclosure
[18 empty] | FIRETUFF | BS 3871 | C | 1
Main protective bonding conductor(s) to: |  | Water |  | Gas |  |  | Oil |  | Structural steel |  |  |  |  | Other |  |  |  | PILC | BS EN 60947-2 | D | 1.5
[18 empty] | SY FLEX | BS EN 4293 |  | 2 x 1.5
PART 3: CIRCUIT DETAILS: | [17 empty] | CY FLEX | BS EN 61008 |  | 2.5
[18 empty] | YY FLEX | BS EN 61009 |  | 2 x 2.5
DB reference No: |  |  |  | DB location and type | [13 empty] | 6491X |  |  | 4
[18 empty] | TRI-RATED |  |  | 2 x 4
Circuit No: |  |  | Circuit description: | [17 empty] | 6
10
Conductor sizes: | Live |  |  | mm CPC |  |  |  | mm | Type | [11 empty] | 16
25
Circuit overcurrent protective device: | BS:EN |  |  | Type: |  |  |  | Rating: | [5 empty] | Max Zs for device | [6 empty] | 35
25
RCD: | BS:EN |  |  | Type: | [5 empty] | Rating:
25
AFDD: | BS:EN |  |  | Rating:
25
SPD: | BS:EN |  |  | Type:
50
PART 4: TEST RESULTS FOR THE CIRCUIT ALTERED OR EXTENDED (where relevant and practicable) | [20 empty] | 70
† Confirmation that the necessary inspections have been undertaken | [6 empty] | † Confirmation of correct polarity | [9 empty] | P
† Circuit resistance: | R1 + R2 |  | Ω or | R2 |  | Ω | Continuity of ring final cct conductors | [9 empty] | Ï
Insulation resistance: |  | Phase/Phase* |  |  |  | MΩ | L/L |  | Ω | N/N |  | Ω | cpc/cpc |  | Ω
( * In a multi-phase circuit, record the lower or |  | Phase/Neutral* |  |  |  | MΩ | Maximum measured earth fault loop impedance Zs | [8 empty] | Ω
lowest value, as appropriate) |  | † Phase/Earth* |  |  |  | MΩ | RCD operating curent 1∆n |  |  |  |  | mA | Disconnection time |  |  | ms
|  | † Neutral/Earth |  |  |  | MΩ | Satisfactory test button operation
AFDD satisfactory test button operation:
SPD functionality confirmed:
Details of test instruments: | Earth fault loop impedance: |  |  |  |  | Insulation resistance/continuity: | [7 empty] | RCD:
PART 4: DECLARATION
I/we certify that the work covered by this certificate does not impair the safety of the existing installation and the work has been designed, constructed and tested in accordance
with BS 7671:2018 (IET Wiring Regulations) amended to |  |  |  | (date) and that to the best of my knowledge and belief, at the time of my/our inspection, complied with
BS 7671 except as detailed in part 1 above.
For and on behalf of
Name |  |  | Reviewed by
(CAPITALS)
Signature |  |  | Signature | [5 empty] | Address and Postcode
Position |  |  | Position
Date |  |  | Date
This form is based on the model shown in Appendix 6 of BS 7671:2018.

## Sheet2 (hidden)
1 | BS 88 | BS EN 62606 | BS 4293 | BS EN 61643 | Conduit | PVC/PVC | 1 | T1 | 1
1.5 | BS 3036 |  | BS EN 61008 |  | Trunking | PVC/SWA | 2 | T2 | 2
2.5 | BS 1361 |  | BS EN 61009 |  | SWA | PVC/XLPE | 3 | T3 | 4
2x2.5 | BS 1362 |  |  |  | MICC | MICC | 4 | T1/T2 | 5
4 | BS 3871 |  |  |  | MECH | FP200 | A | T1/T2/T3 | 6
2x4.0 | BS EN 60898 |  |  |  | 1 | FIRETUFF | B |  | 10
6 | BS EN 60947-2 |  |  |  | 1.5 | PILC | C |  | 15
10 | BS EN 61009 |  |  |  | 2.5 | YY FLEX | D |  | 16
16 |  |  |  |  | 2x2.5 | SY FLEX | F |  | 20
25 |  |  |  |  | 4 | CY FLEX | S |  | 25
35 |  |  |  |  | 2x4.0 | 6491X | mG |  | 30
50 |  |  |  |  | 6 | TRI RATED | GG |  | 32
70 |  |  |  |  | 10 |  |  |  | 40
95 |  |  |  |  | 16 |  |  |  | 50
120 |  |  |  |  | 25 |  |  |  | 63
150 |  |  |  |  | 35 |  |  |  | 80
185 |  |  |  |  | 50 |  |  |  | 100
240 |  |  |  |  | 70 |  |  |  | 125
300 |  |  |  |  | 95 |  |  |  | 150
[5 empty] | 120 |  |  |  | 200
[5 empty] | 150 |  |  |  | 250
[5 empty] | 185 |  |  |  | 315
400
500
630
800
1000
1250